## Slide 1: Describing and modelling E. coli growth
By Tobias Pfennig

## Slide 2: Index
Comprehensive measurement
  BioLector Pro
  Data in graphs
Supportive measurement
  Drymass
  Biomass: Scatter vs. Riboflavin
Monod model
Metabolism
Acetate Problems
Future outlook
https://www.opentrons.com/ot-2

## Slide 3: BioLector® Pro
m2p-labs
https://www.m2p-labs.com/bioreactors/products/biolector-pro/

## Slide 4: BioLector Pro
48-well „Flower“-Plates
Regulated humidity, temperature, shaking, …
Optical measuring:
  Backscatter
  Riboflavin fluor.
  O2 saturation
  NADH flour.
  pH
Culture measurement
https://www.m2p-labs.com/bioreactors/products/biolector-pro/

## Slide 5: Plate Setup
Two gradients, 3 replicates
Glucose
Acetate
0 C-mmol/l
133 C-mmol/l

## Slide 6: Glucose: Scatter
Similar initial growth
Drop after variable time
Second, weaker growth
Second drop after similar time
Stationary
Surprising drops
Scatter vs. time

## Slide 7: Glucose: Scatter
Growth rates stable
Negative growth (decay) in drops
Biomass equivalent?
Mass decay?
Scatter growth rates vs. time

## Slide 8: Glucose: Drops
first drop time: + correlation
Second drop time : stable
Drop time difference: - correlation
Time of drops
Time of drops vs. glucose concentration

## Slide 9: Glucose: Riboflavin
Used in Respiration (FMN, FAD/ FADH2)
Scatter-like growth phases
No drops
Biomass equivalent?
Scatter alternative?
Riboflavin vs. time

## Slide 10: Glucose: Riboflavin
Two growth phases
Initially rising rate (?)
Growth rates mostly stable
Rate change at drop points
Scatter alternative?
Riboflavin growth rate vs. time

## Slide 11: Glucose: O2
Lowered saturation during both phases
Rising saturation during drops
Respiration
O2 saturation vs. time

## Slide 12: Glucose: O2
Stable consumption rates in both phases
Second phase rate drastically lower
Drop in consumption during scatter drops
Initial phase?
Biomass normalized respiration
(BM-norm) O2 change rate vs. time

## Slide 13: Glucose: pH
Strong acidification in first phase
Small, variable change in second phase
Even cells without glucose acidify
Acidification
pH vs. time

## Slide 14: Supportive measurement
Highest glucose concentration
Samples time series over 7 h
Dry 5 ml on filters: measure weight before and after
Scatter:
Riboflavin:
Drymass
Expected Biomass

## Slide 15: Biomass
„Scattermass“ vs. time
„Riboflavinmass“ vs. time
Drymass+
Drymass
Drymass

## Slide 16: Monod model
Substrate Biomass , Growthrate , Yield
per concentration from data
Simplest approach

## Slide 17: Monod model
Residuals vs. time
MSE vs. concentration

## Slide 18: Glucose: Recap
Initial growth:
  Strong scatter + riboflavin growth
  High O2 usage
  Strong acidification
Second growth
  Weaker scatter + riboflavin growth
  Low O2 usage
  Varying pH
Stationary
Three phases, separated by drops
Scatter vs. time

## Slide 19: Metabolism
Two phases
Wolfe, 2005
+2 ATP
+2 NADH
~ 15%
+1 GTP
+3 NADH
+1 FADH2
(+1 ATP)
+1 NADH

## Slide 20: Acetate-switch
Two phases
Wolfe, 2005
-2 ATP
Metabolism

## Slide 21: Acetate: Scatter
Only one drop
Growth after drop
Surprising growth
Scatter vs. time

## Slide 22: Acetate: Scatter
Mostly stable growthrates
Two subphases during growth
Still three phases?
Scatter growth rates vs. time

## Slide 23: Acetate: Riboflavin
No sudden drop
But peak with following decay
Riboflavin and scatter disagree
Mass decay?
Riboflavin vs. time

## Slide 24: Glucose: Riboflavin
Only one growth phase
But gradually decreasing rate
Constant decay starting with drop
Decay
Riboflavin growth rate vs. time

## Slide 25: Acetate: O2
O2 consumption only during growth
Consumption stops before scatter drop
“Dip” in usage for high concentrations
Respiration
O2 saturation vs. time

## Slide 26: Glucose: O2
Mostly stable consumption in both phases
“Dip” in usage for high concentrations
Biomass normalized respiration
(BM-norm) O2 change rate vs. time

## Slide 27: Future outlook
Fit more complex models
  Include metabolic structure
Determine Biomass equivalent
Investigate Acetate behavior
Higher complexity

## Slide 28: Thanks for listening
Tim Petzel
Nikolaus Thumm
Rainer Machne
Oliver Ebenhöh
Ilka Axmann
And everyone in SynMibi and QTB for having me
Acknowledgements

## Slide 29: References
Bruce Alberts et al. Molecular biology of the cell. 3rd edition. 1994. ISBN: 0-8153-1619-4.
James Patrick Folsom and Ross P. Carlson. “Physiological, biomass elemental composition and proteomic analyses of Escherichia coli ammonium limited chemostat growth, and comparison with iron- and glucose-limited chemostat growth”. In: Microbiology (United Kingdom)161.8 (2015), pp. 1659–1670. ISSN: 14652080. DOI: 10.1099/mic.0.000118.
A. J. Wolfe. “The Acetate Switch”. In: Microbiology and Molecular Biology Reviews 69.1 (2005), pp. 12–50. ISSN: 1092-2172. DOI: 10.1128/mmbr.69.1.12-50.2005.